## Bus
Name | Voltage |  | Value | Attribute
0 | 15 | Transformer uper side | Type | ElmTerm
1 | 0.4 | Transformer down side | Line-Ground Voltage, Magnitude A [kV) | m:U:A
10 | 0.4 |  | Line-Ground Voltage, Magnitude B [kV) | m:U:B
100 | 0.4 |  | Line-Ground Voltage, Magnitude C [kV) | m:U:C
101 | 0.4 |  | Line-Ground Voltage, Magnitude A [p.u.] | m:u:A
102 | 0.4 |  | Line-Ground Voltage, Magnitude B [p.u.] | m:u:B
103 | 0.4 |  | Line-Ground Voltage, Magnitude B [p.u.] | m:u:C
104 | 0.4 |  | Line-Ground Voltage, Angle A [deg] | m:phiu:A
105 | 0.4 |  | Line-Ground Voltage, Angle B [deg] | m:phiu:B
106 | 0.4 |  | Line-Ground Voltage, Angle C [deg] | m:phiu:C
107 | 0.4
108 | 0.4
109 | 0.4
11 | 0.4
110 | 0.4
111 | 0.4
112 | 0.4
113 | 0.4
114 | 0.4
115 | 0.4
116 | 0.4
12 | 0.4
13 | 0.4
14 | 0.4
15 | 0.4
16 | 0.4
17 | 0.4
18 | 0.4
19 | 0.4
2 | 0.4
20 | 0.4
21 | 0.4
22 | 0.4
23 | 0.4
24 | 0.4
25 | 0.4
26 | 0.4
27 | 0.4
28 | 0.4
29 | 0.4
3 | 0.4
30 | 0.4
31 | 0.4
32 | 0.4
33 | 0.4
34 | 0.4
35 | 0.4
36 | 0.4
37 | 0.4
38 | 0.4
39 | 0.4
4 | 0.4
40 | 0.4
41 | 0.4
42 | 0.4
43 | 0.4
44 | 0.4
45 | 0.4
46 | 0.4
47 | 0.4
48 | 0.4
49 | 0.4
5 | 0.4
50 | 0.4
51 | 0.4
52 | 0.4
53 | 0.4
54 | 0.4
55 | 0.4
56 | 0.4
57 | 0.4
58 | 0.4
59 | 0.4
6 | 0.4
60 | 0.4
61 | 0.4
62 | 0.4
63 | 0.4
64 | 0.4
65 | 0.4
66 | 0.4
67 | 0.4
68 | 0.4
69 | 0.4
7 | 0.4
70 | 0.4
71 | 0.4
72 | 0.4
73 | 0.4
74 | 0.4
75 | 0.4
76 | 0.4
77 | 0.4 | End
78 | 0.4
79 | 0.4
8 | 0.4
80 | 0.4
81 | 0.4
82 | 0.4
83 | 0.4
84 | 0.4
85 | 0.4
86 | 0.4
87 | 0.4
88 | 0.4
89 | 0.4
9 | 0.4
90 | 0.4
91 | 0.4
92 | 0.4
93 | 0.4
94 | 0.4
95 | 0.4
96 | 0.4
97 | 0.4
98 | 0.4
99 | 0.4

## Line
Name | Terminal i | Terminal j | Value | Attribute
Ln1.2 | 1 | 2 | Type | ElmLne
Ln2.3 | 2 | 3 | Phase Current, Magnitude A Terminal i [Terminal i in kA) | m:l:bus1:A
Ln2.4 | 2 | 4 | Phase Currenț Magnitude B Terminal i [Terminal i in kA] | m:l:bus1:B
Ln3.5 | 3 | 5 | Phase Current, Magnitude C Terminal i [Terminal i in kA] | m:l:bus1:C
Ln4.6 | 4 | 6 | Phase Currenț Angle A Terminal i [Terminal i in deg] | m:phii:bus1:A
Ln6.7 | 6 | 7 | Phase Currenț Angle B Terminal i [Terminal i in deg] | m:phii:bus1:B
Ln4.8 | 4 | 8 | Phase Currenț Angle C Terminal i [Terminal i in deg] | m:phii:bus1:C
Ln8.9 | 8 | 9 | Nominał Current [kA] | c:curnom
Ln3.10 | 3 | 10
Ln9.11 | 9 | 11
Ln9.12 | 9 | 12
Ln6.13 | 6 | 13
Ln8.14 | 8 | 14
Ln14.15 | 14 | 15
Ln15.16 | 15 | 16
Ln16.17 | 16 | 17
Ln17.18 | 17 | 18
Ln14.19 | 14 | 19
Ln19.20 | 19 | 20
Ln19.21 | 19 | 21
Ln20.22 | 20 | 22
Ln20.23 | 20 | 23
Ln23.24 | 23 | 24
Ln22.25 | 22 | 25
Ln23.26 | 23 | 26
Ln24.27 | 24 | 27
Ln15.28 | 15 | 28
Ln27.29 | 27 | 29
Ln27.30 | 27 | 30
Ln17.31 | 17 | 31
Ln28.32 | 28 | 32
Ln22.33 | 22 | 33
Ln31.34 | 31 | 34
Ln32.35 | 32 | 35
Ln18.36 | 18 | 36
Ln16.37 | 16 | 37
Ln35.38 | 35 | 38
Ln31.39 | 31 | 39
Ln36.40 | 36 | 40
Ln38.41 | 38 | 41
Ln36.42 | 36 | 42
Ln41.43 | 41 | 43
Ln38.44 | 38 | 44
Ln41.45 | 41 | 45
Ln32.46 | 32 | 46
Ln44.47 | 44 | 47
Ln35.48 | 35 | 48
Ln28.49 | 28 | 49
Ln44.50 | 44 | 50
Ln48.51 | 48 | 51
Ln43.52 | 43 | 52
Ln43.53 | 43 | 53
Ln48.54 | 48 | 54
Ln53.55 | 53 | 55
Ln55.56 | 55 | 56
Ln56.57 | 56 | 57
Ln51.58 | 51 | 58
Ln55.59 | 55 | 59
Ln58.60 | 58 | 60
Ln51.61 | 51 | 61
Ln61.62 | 61 | 62
Ln59.63 | 59 | 63
Ln61.64 | 61 | 64
Ln59.65 | 59 | 65
Ln63.66 | 63 | 66
Ln56.67 | 56 | 67
Ln58.68 | 58 | 68
Ln65.69 | 65 | 69
Ln69.70 | 69 | 70
Ln68.71 | 68 | 71
Ln63.72 | 63 | 72
Ln71.73 | 71 | 73
Ln71.74 | 71 | 74
Ln69.75 | 69 | 75
Ln53.76 | 53 | 76
Ln70.77 | 70 | 77
Ln65.78 | 65 | 78
Ln74.79 | 74 | 79
Ln78.80 | 78 | 80
Ln78.81 | 78 | 81
Ln79.82 | 79 | 82
Ln74.83 | 74 | 83
Ln82.84 | 82 | 84
Ln82.85 | 82 | 85
Ln85.86 | 85 | 86
Ln84.87 | 84 | 87
Ln85.88 | 85 | 88
Ln86.89 | 86 | 89
Ln89.90 | 89 | 90
Ln90.91 | 90 | 91
Ln90.92 | 90 | 92
Ln91.93 | 91 | 93
Ln92.94 | 92 | 94
Ln84.95 | 84 | 95
Ln94.96 | 94 | 96
Ln68.97 | 68 | 97
Ln79.98 | 79 | 98
Ln92.99 | 92 | 99
Ln99.100 | 99 | 100
Ln100.101 | 100 | 101
Ln91.102 | 91 | 102
Ln98.103 | 98 | 103
Ln94.104 | 94 | 104
Ln98.105 | 98 | 105
Ln105.106 | 105 | 106
Ln105.107 | 105 | 107
Ln101.108 | 101 | 108
Ln99.109 | 99 | 109
Ln108.110 | 108 | 110
Ln89.111 | 89 | 111
Ln111.112 | 111 | 112
Ln109.113 | 109 | 113
Ln108.114 | 108 | 114
Ln111.115 | 111 | 115
Ln109.116 | 109 | 116

## Loads
name | P1 | P2 | P3 | Q1 | Q2 | Q3 |  | Value | Attribute
Atribute | plinir | plinis | plinit | qlinir | qlinis | qlinit | Terminal | Type | ElmLod
LD10 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 10 | Active Power A [kW] | m:P:bus1:A
LD102 | 1.0 | 0.0 | 0.0 | 0.203058660634004 | 0 | 0 | 102 | Active Power B [kW] | m:P:bus1:B
LD103 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 103 | Active Power C [kW] | m:P:bus1:C
LD104 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 104 | Reactive Power A [kW] | m:Q:bus1:A
LD106 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 106 | Reactive Power B [kW] | m:Q:bus1:B
LD107 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 107 | Reactive Power C [kW] | m:Q:bus1:C
LD11 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 11 | Rated apparent power KVA | Strat
LD110 | 1.0 | 0.0 | 0.0 | 0.203058660634004 | 0 | 0 | 110
LD112 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 112
LD113 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 113
LD114 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 114
LD115 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 115
LD116 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 116
LD12 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 12
LD13 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 13
LD21 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 21
LD25 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 25
LD26 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 26
LD29 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 29
LD30 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 30
LD33 | 1.0 | 0.0 | 0.0 | 0.203058660634004 | 0 | 0 | 33
LD34 | 1.0 | 0.0 | 0.0 | 0.203058660634004 | 0 | 0 | 34
LD37 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 37
LD39 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 39
LD40 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 40
LD42 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 42
LD45 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 45
LD46 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 46
LD47 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 47
LD49 | 1.0 | 0.0 | 0.0 | 0.203058660634004 | 0 | 0 | 49
LD5 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 5
LD50 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 50
LD52 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 52
LD54 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 54
LD57 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 57
LD60 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 60
LD62 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 62
LD64 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 64
LD66 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 66
LD67 | 1.0 | 0.0 | 0.0 | 0.203058660634004 | 0 | 0 | 67
LD7 | 1.0 | 0.0 | 0.0 | 0.203058660634004 | 0 | 0 | 7
LD72 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 72
LD73 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 73
LD75 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 75
LD76 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 76
LD77 | 1.0 | 0.0 | 0.0 | 0.203058660634004 | 0 | 0 | 77
LD80 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 80
LD81 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 81
LD83 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 83
LD87 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 87
LD88 | 0.0 | 1.0 | 0.0 | 0 | 0.203058660634004 | 0 | 88
LD93 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 93
LD95 | 1.0 | 0.0 | 0.0 | 0.203058660634004 | 0 | 0 | 95
LD96 | 0.8 | 0.8 | 0.8 | 0.162446928507203 | 0.162446928507203 | 0.162446928507203 | 96
LD97 | 1.0 | 0.0 | 0.0 | 0.203058660634004 | 0 | 0 | 97

## PV
name | P | Q | Termninal | Value | Attribute | Węzeł | 1-3 fazy | moc
Atribute | pgini | qgini |  | Type | ElmPvsys | 5 | 3F | 10
PV102F1 | 0.0 | 0.0 | 102 | Active Power [kW] | m:Psum:bus1 | 7 | 3F | 10
PV102F2 | 0.0 | 0.0 | 102 | Reactive Power [kW] | m:Qsum:bus1 | 13 | 3F | 10
PV102F3 | 0.0 | 0.0 | 102 | Rated apparent power KVA | sgn | 21 | 1f | 3.68
PV103F1 | 3.33 | 0.0 | 103 |  |  | 26 | 3F | 10
PV103F2 | 3.33 | 0.0 | 103 |  |  | 33 | 3F | 10
PV103F3 | 3.33 | 0.0 | 103 |  |  | 37 | 3F | 10
PV104F1 | 3.33 | 0.0 | 104 |  |  | 40 | 3F | 10
PV104F2 | 3.33 | 0.0 | 104 |  |  | 46 | 3F | 10
PV104F3 | 3.33 | 0.0 | 104 |  |  | 49 | 3F | 10
PV106F1 | 0.0 | 0.0 | 106 |  |  | 50 | 1f | 3.68
PV106F2 | 0.0 | 0.0 | 106 |  |  | 54 | 3F | 10
PV106F3 | 0.0 | 0.0 | 106 |  |  | 60 | 3F | 10
PV107F1 | 3.33 | 0.0 | 107 |  |  | 62 | 3F | 10
PV107F2 | 3.33 | 0.0 | 107 |  |  | 66 | 3F | 10
PV107F3 | 3.33 | 0.0 | 107 |  |  | 72 | 3F | 10
PV10F1 | 0.0 | 0.0 | 10 |  |  | 73 | 1f | 3.68
PV10F2 | 0.0 | 0.0 | 10 |  |  | 76 | 3F | 10
PV10F3 | 0.0 | 0.0 | 10 |  |  | 80 | 3F | 10
PV110F1 | 0.0 | 0.0 | 110 |  |  | 81 | 3F | 10
PV110F2 | 0.0 | 0.0 | 110 |  |  | 87 | 3F | 10
PV110F3 | 0.0 | 0.0 | 110 |  |  | 93 | 3F | 10
PV112F1 | 3.33 | 0.0 | 112 |  |  | 95 | 1f | 3.68
PV112F2 | 3.33 | 0.0 | 112 |  |  | 97 | 3F | 10
PV112F3 | 3.33 | 0.0 | 112 |  |  | 103 | 3F | 10
PV113F1 | 0.0 | 0.0 | 113 |  |  | 104 | 3F | 10
PV113F2 | 0.0 | 0.0 | 113 |  |  | 107 | 3F | 10
PV113F3 | 3.68 | 0.0 | 113 |  |  | 112 | 3F | 10
PV114F1 | 0.0 | 0.0 | 114 |  |  | 113 | 1f | 3.68
PV114F2 | 0.0 | 0.0 | 114 |  |  | 115 | 3F | 10
PV114F3 | 0.0 | 0.0 | 114
PV115F1 | 3.33 | 0.0 | 115
PV115F2 | 3.33 | 0.0 | 115
PV115F3 | 3.33 | 0.0 | 115
PV116F1 | 0.0 | 0.0 | 116
PV116F2 | 0.0 | 0.0 | 116
PV116F3 | 0.0 | 0.0 | 116
PV11F1 | 0.0 | 0.0 | 11
PV11F2 | 0.0 | 0.0 | 11
PV11F3 | 0.0 | 0.0 | 11
PV12F1 | 0.0 | 0.0 | 12
PV12F2 | 0.0 | 0.0 | 12
PV12F3 | 0.0 | 0.0 | 12
PV13F1 | 3.33 | 0.0 | 13
PV13F2 | 3.33 | 0.0 | 13
PV13F3 | 3.33 | 0.0 | 13
PV21F1 | 0.0 | 0.0 | 21
PV21F2 | 0.0 | 0.0 | 21
PV21F3 | 3.68 | 0.0 | 21
PV25F1 | 0.0 | 0.0 | 25
PV25F2 | 0.0 | 0.0 | 25
PV25F3 | 0.0 | 0.0 | 25
PV26F1 | 3.33 | 0.0 | 26
PV26F2 | 3.33 | 0.0 | 26
PV26F3 | 3.33 | 0.0 | 26
PV29F1 | 0.0 | 0.0 | 29
PV29F2 | 0.0 | 0.0 | 29
PV29F3 | 0.0 | 0.0 | 29
PV30F1 | 0.0 | 0.0 | 30
PV30F2 | 0.0 | 0.0 | 30
PV30F3 | 0.0 | 0.0 | 30
PV33F1 | 3.33 | 0.0 | 33
PV33F2 | 3.33 | 0.0 | 33
PV33F3 | 3.33 | 0.0 | 33
PV34F1 | 0.0 | 0.0 | 34
PV34F2 | 0.0 | 0.0 | 34
PV34F3 | 0.0 | 0.0 | 34
PV37F1 | 3.33 | 0.0 | 37
PV37F2 | 3.33 | 0.0 | 37
PV37F3 | 3.33 | 0.0 | 37
PV39F1 | 0.0 | 0.0 | 39
PV39F2 | 0.0 | 0.0 | 39
PV39F3 | 0.0 | 0.0 | 39
PV40F1 | 3.33 | 0.0 | 40
PV40F2 | 3.33 | 0.0 | 40
PV40F3 | 3.33 | 0.0 | 40
PV42F1 | 0.0 | 0.0 | 42
PV42F2 | 0.0 | 0.0 | 42
PV42F3 | 0.0 | 0.0 | 42
PV45F1 | 0.0 | 0.0 | 45
PV45F2 | 0.0 | 0.0 | 45
PV45F3 | 0.0 | 0.0 | 45
PV46F1 | 3.33 | 0.0 | 46
PV46F2 | 3.33 | 0.0 | 46
PV46F3 | 3.33 | 0.0 | 46
PV47F1 | 0.0 | 0.0 | 47
PV47F2 | 0.0 | 0.0 | 47
PV47F3 | 0.0 | 0.0 | 47
PV49F1 | 3.33 | 0.0 | 49
PV49F2 | 3.33 | 0.0 | 49
PV49F3 | 3.33 | 0.0 | 49
PV50F1 | 0.0 | 0.0 | 50
PV50F2 | 0.0 | 0.0 | 50
PV50F3 | 3.68 | 0.0 | 50
PV52F1 | 0.0 | 0.0 | 52
PV52F2 | 0.0 | 0.0 | 52
PV52F3 | 0.0 | 0.0 | 52
PV54F1 | 3.33 | 0.0 | 54
PV54F2 | 3.33 | 0.0 | 54
PV54F3 | 3.33 | 0.0 | 54
PV57F1 | 0.0 | 0.0 | 57
PV57F2 | 0.0 | 0.0 | 57
PV57F3 | 0.0 | 0.0 | 57
PV5F1 | 3.33 | 0.0 | 5
PV5F2 | 3.33 | 0.0 | 5
PV5F3 | 3.33 | 0.0 | 5
PV60F1 | 3.33 | 0.0 | 60
PV60F2 | 3.33 | 0.0 | 60
PV60F3 | 3.33 | 0.0 | 60
PV62F1 | 3.33 | 0.0 | 62
PV62F2 | 3.33 | 0.0 | 62
PV62F3 | 3.33 | 0.0 | 62
PV64F1 | 0.0 | 0.0 | 64
PV64F2 | 0.0 | 0.0 | 64
PV64F3 | 0.0 | 0.0 | 64
PV66F1 | 3.33 | 0.0 | 66
PV66F2 | 3.33 | 0.0 | 66
PV66F3 | 3.33 | 0.0 | 66
PV67F1 | 0.0 | 0.0 | 67
PV67F2 | 0.0 | 0.0 | 67
PV67F3 | 0.0 | 0.0 | 67
PV72F1 | 3.33 | 0.0 | 72
PV72F2 | 3.33 | 0.0 | 72
PV72F3 | 3.33 | 0.0 | 72
PV73F1 | 0.0 | 0.0 | 73
PV73F2 | 0.0 | 0.0 | 73
PV73F3 | 3.68 | 0.0 | 73
PV75F1 | 0.0 | 0.0 | 75
PV75F2 | 0.0 | 0.0 | 75
PV75F3 | 0.0 | 0.0 | 75
PV76F1 | 3.33 | 0.0 | 76
PV76F2 | 3.33 | 0.0 | 76
PV76F3 | 3.33 | 0.0 | 76
PV77F1 | 0.0 | 0.0 | 77
PV77F2 | 0.0 | 0.0 | 77
PV77F3 | 0.0 | 0.0 | 77
PV7F1 | 3.33 | 0.0 | 7
PV7F2 | 3.33 | 0.0 | 7
PV7F3 | 3.33 | 0.0 | 7
PV80F1 | 3.33 | 0.0 | 80
PV80F2 | 3.33 | 0.0 | 80
PV80F3 | 3.33 | 0.0 | 80
PV81F1 | 3.33 | 0.0 | 81
PV81F2 | 3.33 | 0.0 | 81
PV81F3 | 3.33 | 0.0 | 81
PV83F1 | 0.0 | 0.0 | 83
PV83F2 | 0.0 | 0.0 | 83
PV83F3 | 0.0 | 0.0 | 83
PV87F1 | 3.33 | 0.0 | 87
PV87F2 | 3.33 | 0.0 | 87
PV87F3 | 3.33 | 0.0 | 87
PV88F1 | 0.0 | 0.0 | 88
PV88F2 | 0.0 | 0.0 | 88
PV88F3 | 0.0 | 0.0 | 88
PV93F1 | 3.33 | 0.0 | 93
PV93F2 | 3.33 | 0.0 | 93
PV93F3 | 3.33 | 0.0 | 93
PV95F1 | 0.0 | 0.0 | 95
PV95F2 | 0.0 | 0.0 | 95
PV95F3 | 3.68 | 0.0 | 95
PV96F1 | 0.0 | 0.0 | 96
PV96F2 | 0.0 | 0.0 | 96
PV96F3 | 0.0 | 0.0 | 96
PV97F1 | 3.33 | 0.0 | 97
PV97F2 | 3.33 | 0.0 | 97
PV97F3 | 3.33 | 0.0 | 97

## ES
name | P | Q | Termninal | Value | Attribute
Atribute | pgini | qgini |  | Type | ElmGenstat
ES100F1 | 0.0 | 0.0 | 100 | Active Power [kW] | m:Psum:bus1
ES100F2 | 0.0 | 0.0 | 100 | Reactive Power [kW] | m:Qsum:bus1
ES100F3 | 0.0 | 0.0 | 100 | Rated apparent power KVA | sgn
ES101F1 | 0.0 | 0.0 | 101
ES101F2 | 0.0 | 0.0 | 101
ES101F3 | 0.0 | 0.0 | 101
ES110F1 | 0.0 | 0.0 | 110
ES110F2 | 0.0 | 0.0 | 110
ES110F3 | 0.0 | 0.0 | 110
ES14F1 | 0.0 | 0.0 | 14
ES14F2 | 0.0 | 0.0 | 14
ES14F3 | 0.0 | 0.0 | 14
ES15F1 | 0.0 | 0.0 | 15
ES15F2 | 0.0 | 0.0 | 15
ES15F3 | 0.0 | 0.0 | 15
ES28F1 | 0.0 | 0.0 | 28
ES28F2 | 0.0 | 0.0 | 28
ES28F3 | 0.0 | 0.0 | 28
ES29F1 | 0.0 | 0.0 | 29
ES29F2 | 0.0 | 0.0 | 29
ES29F3 | 0.0 | 0.0 | 29
ES2F1 | 0.0 | 0.0 | 2
ES2F2 | 0.0 | 0.0 | 2
ES2F3 | 0.0 | 0.0 | 2
ES32F1 | 0.0 | 0.0 | 32
ES32F2 | 0.0 | 0.0 | 32
ES32F3 | 0.0 | 0.0 | 32
ES35F1 | 0.0 | 0.0 | 35
ES35F2 | 0.0 | 0.0 | 35
ES35F3 | 0.0 | 0.0 | 35
ES38F1 | 0.0 | 0.0 | 38
ES38F2 | 0.0 | 0.0 | 38
ES38F3 | 0.0 | 0.0 | 38
ES39F1 | 0.0 | 0.0 | 39
ES39F2 | 0.0 | 0.0 | 39
ES39F3 | 0.0 | 0.0 | 39
ES41F1 | 0.0 | 0.0 | 40
ES41F2 | 0.0 | 0.0 | 40
ES41F3 | 0.0 | 0.0 | 40
ES43F1 | 0.0 | 0.0 | 41
ES43F2 | 0.0 | 0.0 | 41
ES43F3 | 0.0 | 0.0 | 41
ES48F1 | 0.0 | 0.0 | 43
ES48F2 | 0.0 | 0.0 | 43
ES48F3 | 0.0 | 0.0 | 43
ES4F1 | 0.0 | 0.0 | 48
ES4F2 | 0.0 | 0.0 | 48
ES4F3 | 0.0 | 0.0 | 48
ES51F1 | 0.0 | 0.0 | 4
ES51F2 | 0.0 | 0.0 | 4
ES51F3 | 0.0 | 0.0 | 4
ES53F1 | 0.0 | 0.0 | 50
ES53F2 | 0.0 | 0.0 | 50
ES53F3 | 0.0 | 0.0 | 50
ES54F1 | 0.0 | 0.0 | 51
ES54F2 | 0.0 | 0.0 | 51
ES54F3 | 0.0 | 0.0 | 51
ES55F1 | 0.0 | 0.0 | 53
ES55F2 | 0.0 | 0.0 | 53
ES55F3 | 0.0 | 0.0 | 53
ES58F1 | 0.0 | 0.0 | 54
ES58F2 | 0.0 | 0.0 | 54
ES58F3 | 0.0 | 0.0 | 54
ES59F1 | 0.0 | 0.0 | 55
ES59F2 | 0.0 | 0.0 | 55
ES59F3 | 0.0 | 0.0 | 55
ES65F1 | 0.0 | 0.0 | 58
ES65F2 | 0.0 | 0.0 | 58
ES65F3 | 0.0 | 0.0 | 58
ES66F1 | 0.0 | 0.0 | 59
ES66F2 | 0.0 | 0.0 | 59
ES66F3 | 0.0 | 0.0 | 59
ES68F1 | 0.0 | 0.0 | 65
ES68F2 | 0.0 | 0.0 | 65
ES68F3 | 0.0 | 0.0 | 65
ES69F1 | 0.0 | 0.0 | 66
ES69F2 | 0.0 | 0.0 | 66
ES69F3 | 0.0 | 0.0 | 66
ES70F1 | 0.0 | 0.0 | 68
ES70F2 | 0.0 | 0.0 | 68
ES70F3 | 0.0 | 0.0 | 68
ES71F1 | 0.0 | 0.0 | 69
ES71F2 | 0.0 | 0.0 | 69
ES71F3 | 0.0 | 0.0 | 69
ES74F1 | 0.0 | 0.0 | 70
ES74F2 | 0.0 | 0.0 | 70
ES74F3 | 0.0 | 0.0 | 70
ES79F1 | 0.0 | 0.0 | 71
ES79F2 | 0.0 | 0.0 | 71
ES79F3 | 0.0 | 0.0 | 71
ES82F1 | 0.0 | 0.0 | 74
ES82F2 | 0.0 | 0.0 | 74
ES82F3 | 0.0 | 0.0 | 74
ES85F1 | 0.0 | 0.0 | 79
ES85F2 | 0.0 | 0.0 | 79
ES85F3 | 0.0 | 0.0 | 79
ES86F1 | 0.0 | 0.0 | 80
ES86F2 | 0.0 | 0.0 | 80
ES86F3 | 0.0 | 0.0 | 80
ES89F1 | 0.0 | 0.0 | 82
ES89F2 | 0.0 | 0.0 | 82
ES89F3 | 0.0 | 0.0 | 82
ES8F1 | 0.0 | 0.0 | 85
ES8F2 | 0.0 | 0.0 | 85
ES8F3 | 0.0 | 0.0 | 85
ES90F1 | 0.0 | 0.0 | 86
ES90F2 | 0.0 | 0.0 | 86
ES90F3 | 0.0 | 0.0 | 86
ES92F1 | 0.0 | 0.0 | 89
ES92F2 | 0.0 | 0.0 | 89
ES92F3 | 0.0 | 0.0 | 89
ES99F1 | 0.0 | 0.0 | 8
ES99F2 | 0.0 | 0.0 | 8
ES99F3 | 0.0 | 0.0 | 8
90
90
90
92
92
92
99
99
99

## Vars
name | pf_class | attr | min | max
ES110F1 | ElmGenstat | pgini | -10 | 10
ES110F2 | ElmGenstat | pgini | -10 | 10
ES110F3 | ElmGenstat | pgini | -10 | 10
ES29F1 | ElmGenstat | pgini | -10 | 10
ES29F2 | ElmGenstat | pgini | -10 | 10
ES29F3 | ElmGenstat | pgini | -10 | 10
ES40F1 | ElmGenstat | pgini | -10 | 10
ES40F2 | ElmGenstat | pgini | -10 | 10
ES40F3 | ElmGenstat | pgini | -10 | 10
ES50F1 | ElmGenstat | pgini | -10 | 10
ES50F2 | ElmGenstat | pgini | -10 | 10
ES50F3 | ElmGenstat | pgini | -10 | 10
ES80F1 | ElmGenstat | pgini | -10 | 10
ES80F2 | ElmGenstat | pgini | -10 | 10
ES80F3 | ElmGenstat | pgini | -10 | 10
ES110F1 | ElmGenstat | qgini | -10 | 10
ES110F2 | ElmGenstat | qgini | -10 | 10
ES110F3 | ElmGenstat | qgini | -10 | 10
ES29F1 | ElmGenstat | qgini | -10 | 10
ES29F2 | ElmGenstat | qgini | -10 | 10
ES29F3 | ElmGenstat | qgini | -10 | 10
ES40F1 | ElmGenstat | qgini | -10 | 10
ES40F2 | ElmGenstat | qgini | -10 | 10
ES40F3 | ElmGenstat | qgini | -10 | 10
ES50F1 | ElmGenstat | qgini | -10 | 10
ES50F2 | ElmGenstat | qgini | -10 | 10
ES50F3 | ElmGenstat | qgini | -10 | 10
ES80F1 | ElmGenstat | qgini | -10 | 10
ES80F2 | ElmGenstat | qgini | -10 | 10
ES80F3 | ElmGenstat | qgini | -10 | 10
PV5F3 | ElmPvsys | qgini | -3.33 | 3.33
PV7F3 | ElmPvsys | qgini | -3.33 | 3.33
PV13F3 | ElmPvsys | qgini | -3.33 | 3.33
PV21F3 | ElmPvsys | qgini | -3.33 | 3.33
PV26F3 | ElmPvsys | qgini | -3.33 | 3.33
PV33F3 | ElmPvsys | qgini | -3.33 | 3.33
PV37F3 | ElmPvsys | qgini | -3.33 | 3.33
PV40F3 | ElmPvsys | qgini | -3.33 | 3.33
PV46F3 | ElmPvsys | qgini | -3.33 | 3.33
PV49F3 | ElmPvsys | qgini | -3.33 | 3.33
PV50F3 | ElmPvsys | qgini | -3.33 | 3.33
PV54F3 | ElmPvsys | qgini | -3.33 | 3.33
PV60F3 | ElmPvsys | qgini | -3.33 | 3.33
PV62F3 | ElmPvsys | qgini | -3.33 | 3.33
PV66F3 | ElmPvsys | qgini | -3.33 | 3.33
PV72F3 | ElmPvsys | qgini | -3.33 | 3.33
PV73F3 | ElmPvsys | qgini | -3.33 | 3.33
PV76F3 | ElmPvsys | qgini | -3.33 | 3.33
PV80F3 | ElmPvsys | qgini | -3.33 | 3.33
PV81F3 | ElmPvsys | qgini | -3.33 | 3.33
PV87F3 | ElmPvsys | qgini | -3.33 | 3.33
PV93F3 | ElmPvsys | qgini | -3.33 | 3.33
PV95F3 | ElmPvsys | qgini | -3.33 | 3.33
PV97F3 | ElmPvsys | qgini | -3.33 | 3.33
PV103F3 | ElmPvsys | qgini | -3.33 | 3.33
PV104F3 | ElmPvsys | qgini | -3.33 | 3.33
PV107F3 | ElmPvsys | qgini | -3.33 | 3.33
PV112F3 | ElmPvsys | qgini | -3.33 | 3.33
PV113F3 | ElmPvsys | qgini | -3.33 | 3.33
PV115F3 | ElmPvsys | qgini | -3.33 | 3.33
PV5F2 | ElmPvsys | qgini | -3.33 | 3.33
PV7F2 | ElmPvsys | qgini | -3.33 | 3.33
PV13F2 | ElmPvsys | qgini | -3.33 | 3.33
PV26F2 | ElmPvsys | qgini | -3.33 | 3.33
PV33F2 | ElmPvsys | qgini | -3.33 | 3.33
PV37F2 | ElmPvsys | qgini | -3.33 | 3.33
PV40F2 | ElmPvsys | qgini | -3.33 | 3.33
PV46F2 | ElmPvsys | qgini | -3.33 | 3.33
PV49F2 | ElmPvsys | qgini | -3.33 | 3.33
PV54F2 | ElmPvsys | qgini | -3.33 | 3.33
PV60F2 | ElmPvsys | qgini | -3.33 | 3.33
PV62F2 | ElmPvsys | qgini | -3.33 | 3.33
PV66F2 | ElmPvsys | qgini | -3.33 | 3.33
PV72F2 | ElmPvsys | qgini | -3.33 | 3.33
PV76F2 | ElmPvsys | qgini | -3.33 | 3.33
PV80F2 | ElmPvsys | qgini | -3.33 | 3.33
PV81F2 | ElmPvsys | qgini | -3.33 | 3.33
PV87F2 | ElmPvsys | qgini | -3.33 | 3.33
PV93F2 | ElmPvsys | qgini | -3.33 | 3.33
PV97F2 | ElmPvsys | qgini | -3.33 | 3.33
PV103F2 | ElmPvsys | qgini | -3.33 | 3.33
PV104F2 | ElmPvsys | qgini | -3.33 | 3.33
PV107F2 | ElmPvsys | qgini | -3.33 | 3.33
PV112F2 | ElmPvsys | qgini | -3.33 | 3.33
PV115F2 | ElmPvsys | qgini | -3.33 | 3.33
PV5F1 | ElmPvsys | qgini | -3.33 | 3.33
PV7F1 | ElmPvsys | qgini | -3.33 | 3.33
PV13F1 | ElmPvsys | qgini | -3.33 | 3.33
PV26F1 | ElmPvsys | qgini | -3.33 | 3.33
PV33F1 | ElmPvsys | qgini | -3.33 | 3.33
PV37F1 | ElmPvsys | qgini | -3.33 | 3.33
PV40F1 | ElmPvsys | qgini | -3.33 | 3.33
PV46F1 | ElmPvsys | qgini | -3.33 | 3.33
PV49F1 | ElmPvsys | qgini | -3.33 | 3.33
PV54F1 | ElmPvsys | qgini | -3.33 | 3.33
PV60F1 | ElmPvsys | qgini | -3.33 | 3.33
PV62F1 | ElmPvsys | qgini | -3.33 | 3.33
PV66F1 | ElmPvsys | qgini | -3.33 | 3.33
PV72F1 | ElmPvsys | qgini | -3.33 | 3.33
PV76F1 | ElmPvsys | qgini | -3.33 | 3.33
PV80F1 | ElmPvsys | qgini | -3.33 | 3.33
PV81F1 | ElmPvsys | qgini | -3.33 | 3.33
PV87F1 | ElmPvsys | qgini | -3.33 | 3.33
PV93F1 | ElmPvsys | qgini | -3.33 | 3.33
PV97F1 | ElmPvsys | qgini | -3.33 | 3.33
PV103F1 | ElmPvsys | qgini | -3.33 | 3.33
PV104F1 | ElmPvsys | qgini | -3.33 | 3.33
PV107F1 | ElmPvsys | qgini | -3.33 | 3.33
PV112F1 | ElmPvsys | qgini | -3.33 | 3.33
PV115F1 | ElmPvsys | qgini | -3.33 | 3.33

## StorageCandidates
node | elem_A | elem_B | elem_C | Comment
2 | ES2F1 | ES2F2 | ES2F3 | Transformer down side
70 | ES74F1 | ES74F2 | ES74F3 | End of site